2003
2003
2000
1997
2003
2006
2009
Analog network installed + RSAM, helicorders, BOB
Digital network installed
Y2k crash
Earthworm installed, networks merged
Move to MVO Flemings
completed
Seismic monitoring severely undermined
Seismic monitoring rebuilt
New digital seismic network installed
SWARM & Webops
installed
Glowworm installed
Required
Quality of MVO seismic monitoring
Web-based monitoring & broadband RSAM
Event, tremor & diagnostic alarms
Rockfall locations & real-time magnitudes

---
2003
2003
2000
1997
2003
2006
2009
Jul95
USGS analog network
Nov96
BGS digital network
Y2k crash
Mar01
Networks merged
Jan03
Move to MVO Flemings
completed
Feb-Jun03
Seismic monitoring severely undermined
Jan-Feb04
Seismic monitoring rebuilt
2005
New digital seismic network installed
2008 SWARM & Webops
installed
Dec02
Glowworm installed
Required

---
%age
data capture
On MVO
digital seismic network
Data acquisition

---
To boost data capture, several steps were taken:
(1) Diagnostic alarm system created.
(2) Every computer put on a UPS.
(3) Each computer run in parallel.
(4) Each computer configured to auto-restart critical software on reboot.
Meanwhile, interim- and long-term solutions were devised.
Data capture averaged less than 50% for the 18-month period starting January 2009.
Systems crashed up to 25 times per day.

---
Other figures:
Alarms sent.
Event detection.
RSAM data capture.
Continuous data capture.
Webcams through time.
DOAS data through time.

---
Analog seismic network
Digital seismic network